## Slide 1: muon g-2/EDM
PCPV2013, February 21, 2013
Tsutomu Mibe (IPNS/KEK)
photo : Oarai Beach, Ibaraki JAPAN

## Slide 2: Scales of CP-odd sources and EDM
Pospelov, Ritz

## Slide 3: Scales of CP-odd sources and EDM
dτ
dμ
Lepton EDM directly proves CP-odd phases at TeV scale (and beyond?)
Pospelov, Ritz

## Slide 4: Lepton EDM limits
Particle | EDM limits (e・cm) | Standard model (e・cm) | 
e | 1.0×10-27 | < 10-41 | ICL Nature 473, 493 (2011)
μ | 1.8×10-19 | < 10-38 | BNL E821 PR D 80, 052008 (2009)
τ | 5×10-17 |  | Belle PLB 551, 16 (2003)

## Slide 5: Lepton dipole moments
Interactions with static B and E-fields:
Magnetic Dipole Moment
Electric Dipole Moment
Transition Dipole Moments
cLFV process with photon radiation (e.g. μeγ )

## Slide 6: g-2, EDM and cLFV in SUSY
Large g-2  Large cLFV
G. Isidori, F. Mescia, P. Paradisi, and D. Temes, PRD 75 (2007) 115019
Excluded by MEG
deviation from SM (g-2)
g-2 (BNL E821)

## Slide 7: g-2, EDM and cLFV in SUSY
Large g-2  Large cLFV  Large EDM
J. Hisano, Nagai, Paradisi
Expectation from
linear mass scaling (mμ/me)
electron EDM
muon EDM
(MEG goal)

## Slide 8: Experimental status
Hagiwara / Davier et al.
Past - Present
Future
LFV
g-2
EDM
MEG (PSI)
E821 (BNL)
μ-e conv :COMET(J-PARC), mu2e (FNAL)
μeee (PSI)
g-2/EDM (J-PARC,FNAL)
μeγ
Renewing upperlimit
Br < 2.4 E-12
Discovery in horizon
Next stage
EDM
dμ < 1.8 E-19 e cm (95%CL)
g-2
aμexp = 11 659 208.9 (6.3) x 10-10 (0.5ppm)
aμSM = 11 659 182.8 (4.9) x 10-10
aμexp -aμSM = +3.3 σ

## Slide 9: Lepton dipole moments
Interactions with static B and E-fields:
Magnetic Dipole Moment
Electric Dipole Moment
Transition Dipole Moments
cLFV process with photon radiation (e.g. μeγ )

## Slide 10: Anomalous magnetic moment
The Lande’s g factor is 2 in tree level (Dirac equation)
In quantum field theory, g factor gets corrections:
g = 2 ( 1 + aμ)
Anomalous magnetic moment

## Slide 11: Anomalous magnetic moment
All interactions, including ones we don’t know,
appear in quantum loops, and add up to contribute aμ

## Slide 12: QED contributions to aμ
From Lepton Moments (World Scientific, 2010)
Leading order correction
(Schwinger term,1948)
Julian Schwinger

## Slide 13: QED contributions to aμ (cont.)
M. Hayakawa (tau2012)
NEW!

## Slide 14: QED contributions to aμ (cont.)
T. Aoyama, M. Hayakawa,
T. Kinoshita, M. Nio (PRL, 2012)

## Slide 15: Prof. T. Kinoshita giving a lecture at KEK on 10th order QED corrections
Sohtaro Kanda (U. Tokyo, Master’s course student)
 tomorrow’s speaker

## Slide 16: Hadronic contributions to aμ
An example of
Leading order
hadronic term
π+
π-
Theory requires inputs to photon-hadron coupling
Accurate data on
“e+e- γ* hadrons” data (VEPP, BaBar, Belle, KLOE…)
has been used.

## Slide 17: Hadronic contributions to aμ
Coutesy
D. Nomura (tau2012)

## Slide 18: Hadronic contributions to aμ
G. Mandaglio (tau2012)
New data on e+e- π+π- from KLOE

## Slide 19: Hadronic contributions to aμ
J. D. Crnkovic (Tau2012)
New data on e+e- π+π-π0 from Belle

## Slide 20: Hadronic contributions to aμ
Lattice efforts making progress by Tom Blum et. al and other groups (UKQCD, ETMC, Mainz).
Lattice is especially important for evaluation of light-by-light term, which no measurement can be done.
Courtesy
Tom Blum

## Slide 21: Electro-Weak contributions
Leading order
Electro-Weak loop
Relevant couplings have been accurately measured by the LEP experiments.
Contributions from Higgs-loop appears only in higher order.

## Slide 22: Standard Model prediction for aμ
HLMNT11 : J.Phys.G38:085003,2011
D. Nomura (tau2012)
in consistent with
DHMZ10

## Slide 23: Comparison with experiments
HLMNT11 : J.Phys.G38:085003,2011
〜BNL E821 (0.5ppm)
D. Nomura (tau2012)
in consistent with
DHMZ10

## Slide 24: Beyond the standard model
Contributions from SUSY particles
Present uncertainty (exp + SM) : Δaμ = 80 x 10-11

## Slide 25
BNL “g-2” expt: Dam(expt-thy) = (295±88) x 10-11 (3.4 s)
No evidence for SUSY at LHC (yet)
Another solution: A’, a massive neutral vector boson
- also useful for dark matter models
3 Jefferson Lab proposals:
New Opportunity: Search for A’ at Jefferson Lab
APEX test run (Hall A) – published
HPS test run (Hall B) – complete
DarkLight test run (FEL) – July 2012
g – 2 preferred!
R.D. McKeown, NuFact2012

## Slide 26: g-2 anomaly isn’t?
If the current deviation is fully from EDM?
  J.L.Feng, K. T. Matchev, Y. Shadmi, NP B613 (2001) 366
E821 exclusion (95% C.L)
G.W. Benett et. al, PRD80 (2009) 052008
Important to push sensitivity of EDM to test this scenario
Δaμ x 1010
dμ x 1019 (e cm)

## Slide 27: muon g-2/EDM measurements
In uniform magnetic field, muon spin rotates ahead of momentum due to g-2 = 0
aμ (= (g-2)/2 ) is deduced from this residual rotation (precession). In general, spin also rotates due to Beff = β×E and EDM.
BNL E821 approach
γ=30 (P=3 GeV/c)
J-PARC approach
E = 0 at any γ
Proposed at J-PARC with 0.1ppm precision
general form of spin precession vector:
Continuation at FNAL with 0.1ppm precision

## Slide 28: The Experiment at BNL

## Slide 29
Inflector
Kicker
Modules
Storage
ring
Central orbit
Injection orbit
Pions
p = 3.1GeV/c
E821 Experimental Technique
Muon polarization
Muon storage ring
injection & kicking
focus with Electric Quadrupoles
24 electron calorimeters
R=711.2cm
d=9cm
(1.45T)
Electric Quadrupoles
xc ≈ 77 mm
q ≈ 10 mrad
B·dl ≈ 0.1 Tm
xc
R
R
q
Target
25ns bunch of 5 X 1012 protons from AGS

## Slide 30: Arrival time spectrum
Time modulo 100 ms
0 – 100 ms
100 – 200 ms
200 – 300 ms
300 – 400 ms
400 – 500 ms
500 – 600 ms
600 – 700 ms
gt

## Slide 31: Average field uniformity ± 1 ppm
0.5 ppm contours
dist. of m equil. radii

## Slide 32: History of g-2 measurements
Courtesy F. Jergerlehner, arXiv:0902.3360
+e+e- data
Experiment

## Slide 33: 3.3 – 3.6 s: Theory & Experiment must do better
Equal statistical and systematic errors of 0.1 ppm
Experiment: E989 at Fermilab ≥ X4 better
  relocate the storage ring to Fermilab
  use the p-bar debuncher ring (now called the delivery ring) as a 1.9 m long decay line.
Improve on E821 dm limit by factor of 100
New detectors, electronics; improved B-field equipment muon kicker, etc
CD0 received on September 18, 2012
Building construction will begin in November 2012
Ring transport in 2013 ?
An experiment
B. Lee Roberts -tau2012-Nagoya – 21 September 2012

## Slide 34: muon g-2/EDM measurements
In uniform magnetic field, muon spin rotates ahead of momentum due to g-2 = 0
aμ (= (g-2)/2 ) is deduced from this residual rotation (precession). In general, spin also rotates due to Beff = β×E and EDM.
BNL E821 approach
γ=30 (P=3 GeV/c)
J-PARC approach
E = 0 at any γ
Proposed at J-PARC with 0.1ppm precision
general form of spin precession vector:
Continuation at FNAL with 0.1ppm precision

## Slide 35: Lower energy and compact storage ring
14m
BNL E821 / FNAL g-2
J-PARC g-2
P= 3.1 GeV/c , B=1.45 T
P= 0.3 GeV/c , B=3.0 T
66cm

## Slide 36: Lower energy and compact storage ring
Advantages
  Suited for precision control of B-field
    Example : MRI magnet , 1ppm local uniformity
  Spin manipulation of muon beam
    Effective to cancel various systematics
  Completely different systematics than the BNL E821 or FNAL
Hitachi co.
14m
BNL E821 / FNAL g-2
J-PARC g-2
P= 3.1 GeV/c , B=1.45 T
P= 0.3 GeV/c , B=3.0 T
66cm

## Slide 37: Ultra-cold Muon
Requirement for zero E-field:
Muons should be kept stored without E-focusing
 Beam with ultra-small transverse dispersion
ΔpT/p ~0

## Slide 38: Ultra-cold Muon
Requirement for zero E-field:
Muons should be kept stored without E-focusing
 Beam with ultra-small transverse dispersion
ΔpT/p ~0
28MeV/c
3 keV/c
re-acceleration
300 MeV/c
p =
ΔpT/p ~3 keV / 300 MeV =1E-5
Laser resonant ionization of Mu (μ+e-)

## Slide 39: Comparison of experiments
 | BNL-E821 | Fermilab | J-PARC
Muon momentum | 3.09 GeV/c |  | 0.3 GeV/c
gamma | 29.3 |  | 3
Storage field | B=1.45 T |  | 3.0 T
Focusing field | Electric quad |  | Very weak magnetic
# of detected m+ decays | 5.0E9 | 1.8E11 | 1.5E12
# of detected m- decays | 3.6E9 | - | -
Precision (stat) | 0.46 ppm | 0.1 ppm | 0.1 ppm

## Slide 40
Bird’s eye photo in Feb. 2008
J-PARC Facility
(KEK/JAEA)
Material and Life Science
Facility
Neutrino Beam
To Kamioka
Main Ring
(30 GeV)
Hadron Hall
LINAC
3 GeV
Synchrotron

## Slide 41
Resonant Laser Ionization of Muonium (~106 m+/s)
Graphite target
(20 mm)
3 GeV proton beam
( 333 uA)
Surface muon beam
(28 MeV/c, 1-2x108/s)
Muonium Production
(300 K ~ 25 meV⇒2.3 keV/c)
New Muon g-2/EDM Experiment at
J-PARC with Ultra-Cold Muon Beam
Surface muon
Ultra Cold m+ Source
Muon LINAC (300 MeV/c)
Muon
storage

## Slide 42
Resonant Laser Ionization of Muonium (~106 m+/s)
Graphite target
(20 mm)
3 GeV proton beam
( 333 uA)
Surface muon beam
(28 MeV/c, 1-2x108/s)
Muonium Production
(300 K ~ 25 meV⇒2.3 keV/c)
New Muon g-2/EDM Experiment at
J-PARC with Ultra-Cold Muon Beam
Silicon Tracker
66 cm diameter
Surface muon
Ultra Cold m+ Source
Muon LINAC (300 MeV/c)
Muon
storage
Super Precision Magnetic Field
(3T, ~1ppm local precision)

## Slide 43: Expected time spectrum of me+nn decay
Muon spin precesses with time.
 number of high energy e+ changes with time by the frequency :
w
e+ decay time (sec)
p>200 MeV/c
0.1ppm statistical uncertainty

## Slide 44: Expected time spectrum of me+nn decay
dm=2E-20 e・cm
Up-down asymmetry
e+ decay time (sec)
EDM tilts the precession axis.
This yields an up-down decay asymmetry in number of e+
(oscillates with the same frequency ω)
∝EDM
w
p>200 MeV/c
current upper limit
by BNL E821
1.8 10-19 e・cm

## Slide 45
The collaboration
92 members ( …still evolving)
25 Institutions: KEK, RIKEN, U-Tokyo, TRIUMF, BNL, PMCU, CYCRC-Tohoku, Osaka, Rikkyo, TITech, SUNYSB, RAL, UCR, UNM, Victoria
7 countries: Czech, USA, Russia, Japan, UK, Canada, France
Dec 2009 : Proposal submitted
Dec 2012 : CDR submitted
Jan 2012 : Stage-1 status granted from PAC (IMSS,IPNS)
P34 E34

## Slide 46
Resonant Laser Ionization of Muonium (~106 m+/s)
Graphite target
(20 mm)
3 GeV proton beam
( 333 uA)
Surface muon beam
(28 MeV/c, 1-2x108/s)
Muonium Production
(300 K ~ 25 meV⇒2.3 keV/c)
New Muon g-2/EDM Experiment at
J-PARC with Ultra-Cold Muon Beam
Surface muon
Ultra Cold m+ Source
Muon LINAC (300 MeV/c)
Muon
storage

## Slide 47: H-Line construction at J-PARC
Muon production
target (graphite)
proton beam
(3 GeV)
H-Line

## Slide 48: H-line construction at J-PARC
Frontend capture solenoids
Bending magnet
Muon
production
target
Capture
solenoids
Bending
magnet
To experimental Area
proton
beam

## Slide 49
Resonant Laser Ionization of Muonium (~106 m+/s)
Graphite target
(20 mm)
3 GeV proton beam
( 333 uA)
Surface muon beam
(28 MeV/c, 1-2x108/s)
Muonium Production
(300 K ~ 25 meV⇒2.3 keV/c)
New Muon g-2/EDM Experiment at
J-PARC with Ultra-Cold Muon Beam
Surface muon
Ultra Cold m+ Source
Muon LINAC (300 MeV/c)
Muon
storage

## Slide 50: Development of Mu production target
Silica powders (SiO2)
  known to be a good Mu emitter at room temp. (e.g. Used in Muanti-Mu conv. searches)
  Not self-standing  difficulty in laser ionization.
Silica aerogel
  Similar structure of SiO2 grain-network. Self-standing!
  New data taken in TRIUMF S1249 experiment in 2010-2011
  Vacuum emission confirmed. Diffusion parameters being extracted.
  Next step  Optimization of structure (porous structure?, c.f. Antognini et al. (PRL108,143401,2012) )
2010
2011
● Aerogel 29mg/cc
● BG
Silica aerogel
(30mg/cc)

## Slide 51: Development of Mu production target
Metals
  Thermal emission of Mu (4%) from W at high temperature (T=2000K) (PRL, Mills et al)
  W has been used in laser ionization R&Ds at KEK-MSL and RIKEN-RAL.
  Systematic studies with hot W in progress at RIKEN-RAL with upgraded laser system (K. Yokoyama / D. Tomono et al.)
R&D experiments at J-PARC.
  J-PARC : The world highest pulsed muon source.
  A new apparatus to quickly study the vacuum emission from various material is being commissioned.
  List of materials to be studied:
    Hot W and other metals
    Room temp W coated with alkali-metal (Na, Cs)
    Room temp aerogel …
Heated W foil (RIKEN-RAL)
commissioning at D-Line/J-PARC
To be discussed tomorrow by S. Kanda

## Slide 52
Y. Oishi 29 Jun. 2012
ω1
ωLy-α
Kr 4p55p
Kr 4p6
OMEGA 1 ： High Energy 212.55 nm Laser System
Fiber
Oscillator
Fiber Amp
All-Solid-State
Amplifier
2nd ~ 5th HG
0.1 mJ
1 J
100 mJ
@212.55 nm
OMEGA 2： Tunable 815-850 nm System
Tunable DFB
Diode Laser
Multistage Optical Parametric Process
100 mJ
@815-850 nm
ωLy-α = 2ω1 - ω2
Krypton Gas Cell
ω1
ω2
ω1/5 ω1
100 µJ
@Lyman-α
OPG
OPA
1062.75 nm
Lyman-α Shifter
Lyman-α Generating System

## Slide 53
Y. Oishi 29 Jun. 2012
ω1
ωLy-α
Kr 4p55p
Kr 4p6
OMEGA 1 ： High Energy 212.55 nm Laser System
Fiber
Oscillator
Fiber Amp
All-Solid-State
Amplifier
2nd ~ 5th HG
0.1 mJ
1 J
100 mJ
@212.55 nm
OMEGA 2： Tunable 815-850 nm System
Tunable DFB
Diode Laser
Multistage Optical Parametric Process
100 mJ
@815-850 nm
ωLy-α = 2ω1 - ω2
Krypton Gas Cell
ω1
ω2
ω1/5 ω1
100 µJ
@Lyman-α
OPG
OPA
1062.75 nm
Lyman-α Shifter
Lyman-α Generating System
Generation of high power Lyman-α is being tested at RIKEN.
Laser ionization of Mu to be tested at U-line/J-PARC in this year.

## Slide 54
Resonant Laser Ionization of Muonium (~106 m+/s)
Graphite target
(20 mm)
3 GeV proton beam
( 333 uA)
Surface muon beam
(28 MeV/c, 1-2x108/s)
Muonium Production
(300 K ~ 25 meV⇒2.3 keV/c)
New Muon g-2/EDM Experiment at
J-PARC with Ultra-Cold Muon Beam
Surface muon
Ultra Cold m+ Source
Muon LINAC (300 MeV/c)
Muon
storage

## Slide 55: Muon acceleration
13.8
β≈0.46
42.3 MeV
β≈0.7
0.34 MeV
β≈0.08
IH
(IH, CDS, DAW … ?)
IH
μ+ →
1.2
β≈0.15
5.1
β≈0.3
RFQ
Initial Acc.
Middle-b
Low-b
200 MeV
β≈0.94
Disk loaded structure
High-b
Disk loaded structure
IH linac
RFQ
KEKB/J-PARC accelerator group + TITech + Kyoto
Beam simulations in progress. Muon acceleration test being planned at J-PARC
J-PARC proton RFQ
IH structure (TITech)
KEKB electron linac

## Slide 56
Resonant Laser Ionization of Muonium (~106 m+/s)
Graphite target
(20 mm)
3 GeV proton beam
( 333 uA)
Surface muon beam
(28 MeV/c, 1-2x108/s)
Muonium Production
(300 K ~ 25 meV⇒2.3 keV/c)
New Muon g-2/EDM Experiment at
J-PARC with Ultra-Cold Muon Beam
Surface muon
Ultra Cold m+ Source
Muon LINAC (300 MeV/c)
Muon
storage

## Slide 57: Muon storage magnet and detector
Cryogenics
2900 mm
Muon storage orbit
Iron yoke
Super conducting coils
Magnetic field： B=3T
local uniformity 1ppm
+very weak magnetic focusing (n~10-5, 1ppm/cm)
666 mm
e+ tracking
detector

## Slide 58: Spiral injection
Iron yoke
Iron yoke
Pole tip
Main coil
+ beam
OPERA-3D model
LINAC+ beam transport
Tunnel
mechanical structure of
vacuum chamber
H. Iinuma, H. Nakayama
Ray-tracing with G4 and magnet design in progress.
Acceptance has been evaluated with 3D B-field map.

## Slide 59
Pulsed current
2 pairs of coil
Vertical kicker
Bkick(t)=Bpeak sin(t)
=/Tkick
Stop beam vertical motion 7~9mrad
Bpeak =1~10 gauss
Tkick=150 nsec (~20 turns of muon)
Uniformity ~1%
Kick
Muon
storage
orbit
Full scale test coil
H. Iinuma, H. Nakayama
Vertical kicker is to stop muon beam in the muon storage area

## Slide 60: Muon storage magnet and detector
Cryogenics
e+ tracking
detector
2900 mm
Muon storage orbit
Iron yoke
Super conducting coils
666 mm
60
60
60
μ decay
vertex
Radial tracking vanes (Silicon strip)
Positron track
p(e+) > 200 MeV/c

## Slide 61: Silicon strip tracker
Number of vanes: 24-48
Detector module
Silicon sensors
Frontend
electronics
Tracking e+ from muon decay (p = 200-300 MeV/c)
No contamination of B-field (< 1ppm) and E-field (<10mV/cm) in the muon storage region.
Efficient and stable over ~5 lifetime (33μs)
  Instantaneous rate changes by two orders of magnitude.
  Flipping spin of muon will cancel rate effect in the leading order.
400mm
G4 simulation
Efficiency of
single track finding
Elapsed time (μs)
K. Ueno
● Exact match
● Partial match

## Slide 62: Silicon-strip detector development
Test detector module (KEK)
  Studies on rate effects
  Impact to precision B-field
Frontend ASICs under development (KEK)
Software development (KEK-RIKEN-LPNHE)
62
Requirement (<10%)
T. Kakurai

## Slide 63: Measured magnetic moment of detector components
1ppm
10ppm
0.1ppm
ΔB/B @100mm

## Slide 64: Milestones
M1) Demonstration of the ultra-cold muon production with the required conversion efficiency leading to an intensity of 1×106µ+/s.
M2) Muon acceleration tests with the baseline configuration of low-β muon LINAC, i.e. RFQ, and IH LINAC.
M3) Tests of the spiral injection scheme.
M4) Production of a prototype magnet and development of the field monitor with the required precision.
M5) Demonstration of rate capability of the detector system for decay positron detection.

## Slide 65: Summary
J-PARC muon g-2/EDM experiment
  Precision measurement of muon g-2 (0.1ppm)
  Search for muon EDM (sensitivity< 10-20 e・cm)
Project status
  Conceptual Design Report was released.
  Stage-1 status granted from PAC (IMSS, IPNS)
  H-Line construction has started.
  R&Ds in progress for all areas of the project
  Experiment can be started in 5 years (technically driven schedule)

## Slide 66: J-PARC Material and Life science Facility
Bird’s eye photo in Feb. 2008
Material and Life Science
Facility
U-Line
D-Line
S-Line
g-2/EDM shares beamline with DeeMe (muon cLFV search) and Mu-HFS