XRF: User Request
	1.
	Name:
	

	2.
	Designation:
	

	3.
	Institute:
	

	4.
	Address:
	

	5.
	Phone No.:
	

	6.
	Fax No.:
	

	7.
	E-mail:
	

	8.
	Sample Details:

(a) Type of sample:

(b) Prepared sample:

(c) No. of sample:
	Terrestrial: Basalt/Sediment/_______

Meteorite: 

Solid Pellet/Glass Bead



	9.
	Elements of Interest for Measuring:
	

	10.
	Purpose
	

	11.
	Standards* to be used: 
	

	12.
	Two preferred Time slots by the user#:
	(a) 

(b) 


* The standards are to be brought by the user; 
# Student/PDF/Project Associate should send the request through their supervisor
Date:










Place:

Guidelines for Use of XRF Facility

· A write up about the instrument and brief details of ‘How to use’ are posted on the web. The user should read and familiarize. First time users will be given guidance and help. Later, they must be able to use the machine on their own.

· All users should ask for a time slot, by filling the “User Request Form” and send it to Mr. Jayesh Pabari (jayesh@prl.res.in)

· All users should record details in the log book.
· File names for different types of users would be in different (suggested) way and file locations would be at different (suggested) place in the computer. 
· Only soft copy of the results would be delivered. The user can take the soft copy on CD/Memory stick and print later, at their lab.
· User must bring the sample in the required size powder. Necessary Pellet/Bead of the sample can be made (by the user) on site. Please check the availability of binder/flux and the Al-planchets.
· Samples must be collected back by the user immediately after the measurement is over.

· The user must collect the results as soon as the measurements are completed. As and when needed, the old data will be deleted from the memory.
